## Slide 1: Initial evaluations of water vapor retrievals from SAGE III-ISS
Mijeong Park and Bill Randel
NCAR
Oct 31, 2018
Image from SAGE III-ISS Facebook

## Slide 2
Objectives:
Evaluate geophysical variability in SAGE III-ISS H2O retrievals,
with focus on upper troposphere - lower stratosphere
  Time average behavior
  Tropical tape recorder and summer monsoons
  Comparisons with temperatures near the tropical tropopause

## Slide 3: SAGE III-ISS measurements
201708
Jan2018
good sampling for
monthly averages
SAGE III-ISS
Aug2017

## Slide 4: SAGE III H2O Apr2018 SR vs. SS
dry TTL
SAGE III H2O SR
SAGE III H2O SS
QBO

## Slide 5: MLS vs. SAGE III H2O Apr2018
MLS H2O
SAGE III H2O (SR+SS)
overall good agreement

## Slide 6: H2O tape recorder (2004-2018)
MLS H2O (15S-15N)
ACE-FTS H2O (15S-15N)
Long term measurements of H2O are crucial to understanding atmospheric variability

## Slide 7: H2O tape recorder (2017-2018) SAGE III-ISS vs. MLS
SAGE III-ISS H2O (ss+sr) 15S-15N
MLS H2O 15S-15N
wet phase of
tape recorder

## Slide 8: H2O tape recorder (2017-2018) SAGE III-ISS vs. ACE-FTS
SAGE III-ISS H2O (ss+sr) 15S-15N
ACE-FTS H2O 15S-15N

## Slide 9
Gridding to evaluate longitudinal structure
Aug2018
Asian and N. American monsoons
Aug2018 (Grid)
SAGE III H2O (16.5km)
SAGE III H2O (16.5km)

## Slide 10: SAGE III vs. MLS H2O Aug2018
SAGE III H2O (16.5 km)
MLS H2O (100 hPa)
SAGE III H2O (18.0 km)
MLS H2O (83 hPa)
Note differences in
vertical resolution:
MLS ～ 3 - 4 km
SAGE III ～ 1 km
?

## Slide 11: SAGE III vs. MLS H2O Jan2018
SAGE III H2O (18.0 km)
SAGE III H2O (16.5 km)
MLS H2O (83 hPa)
MLS H2O (100 hPa)
cold, low H2O
tropical western Pacific

## Slide 12: Comparing SAGE III vs. MLS H2O profiles for one day (10S-10N)
Reasonable agreement for vertical structure
near tropopause
SAGE III & MLS 20170827
SAGE III & MLS 20171123
Summer
Winter
noise above
35 km

## Slide 13
Comparisons with temperatures in TTL:
In the TTL, we expect H2O to closely follow local temperature,
due to local dehydration. What can we learn from
detailed comparisons?
How does observed H2O compare to saturated H2O profile from T(z)?
Calculate Qsat = 100% relative humidity from observed T(z)
(Clausius-Clapeyron)

## Slide 14: Comparisons with temperatures in TTL
nearby GPS Temperature
T cpt
SAGE III H2O and analysis temperature
analysis
Temp.
H2O min
Example:
single profile
in Aug 2018
In the future we will
use high vertical
resolution T(z) from GPS

## Slide 15: SAGE III H2O & Qsat (winter/summer)
H2O (10S-10N) 201801
H2O (25S-0) 201808
A few examples of very low H2O
Qsat is based on analysis
temperature

## Slide 16: SAGE III H2O vs. Qsat 10S-10N
H2O vs. Qsat
H2O vs. Qsat
few anomalously
low H2O values
Color = Temperature
Summer (Aug2017)
Winter (Jan2018)
1:1 line =
100% RH
< 100% RH
(12.5-19.5 km)
above
cold point

## Slide 17: SAGE III H2O vs. Qsat 10S-10N
Summer (Aug2017)
Winter (Jan2018)
(12.5-19.5 km)
H2O vs. Qsat
above
cold point
H2O vs. Qsat
Color =Altitude

## Slide 18: Key Points
Overall SAGE III-ISS water vapor shows reasonable geophysical behavior. Good initial comparisons to MLS and ACE-FTS.
Tape recorder signal is evident in SAGE III-ISS water vapor, consistent with MLS & ACE-FTS.
Seasonal structure in the LS is consistent with MLS both in NH summer and winter. Future goal is to explore detailed vertical structure with SAGE III-ISS.
SAGE III-ISS water vapor captures vertical structure of cold point tropopause. Ongoing work to evaluate and quantify H2O vs. Qsat.

## Slide 19: SAGE III H2O vs. Qsat 10S-10N
Dry at 18 km
(summer/winter)
Humid at 16.5 km
SAGE III H2O vs. Qsat 18 km
SAGE III H2O vs. Qsat 16.5 km

## Slide 20: SAGE III H2O 5S-5N (Tropics)
H2O (ppmv) Jan2018
H2O (ppmv) Aug2017
Very low H2O (winter, tropics)
Noise (35-60 km)
..we believe these to be due to noise in the measured atmospheric transmission associated with the platform stability,…
(v5.1 release notes)
Temperature