## Slide 1
The SAGE III/ISS Lunar Algorithm
Robbie Manion
October 2018

## Slide 2
Slant Path Optical Depth
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
2
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
For each counts spectrum sample, or “packet”, we calculate the atmospheric transmission, , as and the optical depth, , as
Because the lunar surface is characterized by gradients in albedo, the reference average intensity is insufficient for obtaining a true optical depth value for every packet. Therefore, the algorithm must correct for albedo as necessary.

## Slide 3
Cross Sections
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
3
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Cross section spectra for O3, NO2, NO3, OClO, and O4.
Four filters (plus a constant) are added in with the cross sections to account for the optical depth contribution from Rayleigh scattering, aerosols, and differences in lunar albedo.

## Slide 4
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Inversion
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
4
+symbols+
-lines-

## Slide 5
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Altitude Adjustment
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
5
The retrieved Ozone in each scan is compared to overlapping scans to line up the scan altitudes. A-band O2 optical depth is also used in this comparison.
Additional adjustment is made on a packet-by-packet basis by comparing A-band O2 signal to a forward model.

## Slide 6
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Filtering, Binning, and Peeling
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
6

## Slide 7
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Filtering, Binning, and Peeling
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
7

## Slide 8
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Filtering, Binning, and Peeling
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
8

## Slide 9
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Filtering, Binning, and Peeling
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
9

## Slide 10
Data
Dark Current Correction
Altitude Registration
Inversion
Altitude Adjustment
Filtering and Binning
Peeling
Products
Wavelength Calibration
Products
The SAGE III/ISS Lunar Algorithm
Robbie Manion | October 2018
10
In V5.1 we have released Ozone as a provisional product and NO3 as a research product.
NO2 is being worked on.
OClO retrieval is challenged by the lower counts on the ISS instrument compared to Meteor.