## Slide 1
J.-P. Vernier 1,2,3 N. Dumelié2, A. K. Pandit1*, G. Souza4, J. Flaten5, V. Ravi Kiran6, R. C. Das1, H. Vernier3,1, L. Joly3, D. Quintao7, B. Biazon7, M.Venkat Ratnam6, T.V. Rao8, N. Rastogi9, G. Berthet10, R. Benoit11, P. Dagaut11, B. Grosselin11, S. Delpeux11, E. Landulfo4+, H. Liu1,2, M. Fromm12, D. Peterson 13, F. Wienhold14, M. Kovilakam2,15, S. Fadvanis16, B. Abiodun17, L. Xia18 and E. Aboutanios19
1. National Institute of Aerospace, Hampton, VA, USA; 2. NASA Langley Research Center, Hampton, VA, USA; 3. Université de Reims Champagne Ardennes CIEL/AEROLAB EMR CNRS 7007; 4. Instituto de Pesquisas Energéticas e Nucleares IPEN-CNEN, São Paulo, SP, Brasil; 5. Aerospace Engineering and Mechanics Department, University of Minnesota, Minneapolis, MN, USA; 6. National Atmospheric Research Laboratory, Gadanki, India; 7. Centro de Meteorologia de Bauru IPMet-UNESP, Bauru, SP, Brasil; 8. Balloon facility, Tata Institute of Fundamental Research, Hyderabad, India; 9. Physical Research Laboratory, Ahmedabad, India; 10. LPC2E, UMR CNRS 7328, CNRS, Université d’Orléans, CNES, Orléans, France; 11. ICARE, UPR3021, CNRS, Orléans, France; 12. Naval Research Laboratory, Washington DC, USA; 13. Naval Research; Laboratory, Monterey, CA, USA 14. Institut für Atmosphäre und Klima, ETH Zürich, Zürich, Switzerland 15. ADNET Systems, Inc., Hampton, USA; 16. Indian Institute of Tropical Meteorology, Pune, India; 17. University of Cape Town, Cape Town, South Africa; 18. Degrees Initiative, USA; 19. University of New South Wales, Australia
* Former employee of NIA, + passed away
For Stratospheric Aerosol Observations
SAGE III/ISS Science Team meeting 19-20 August 2026

## Slide 2: Team adventure of almost two decades
KLASH team/Australia 2014
BraVo team/Brazil 2022
REAS team/France 2021
BATAL team/India 2019
LaRC 2023

## Slide 3: Motivations
Stratospheric aerosol sources are complex (Volcanic Eruptions, PyroCbs, Asian Monsoon, Rocket plumes…)
The lifetime cycle is still poorly understood especially in the tropical UTLS regarding organics (Ming Lyu et al., 2026)
Challenges to observe aerosols near the tropopause due to the presence of clouds and their interactions
Important for Strato. Ozone Chemistry and Climate

## Slide 4: History of balloon-borne stratospheric aerosol measurements
Stratospheric aerosols monitored using OPC measurements since 1971 (e.g. Deshler et al., 2003)
Backscatter sonde technique was introduced in 1991 (Rosen and Kjome, 1991) (both efforts at Univ. of Wyoming)
Recent developments of smaller counters and backscatter sondes (COBALD/ETH in 2012, POPS/NOAA in 2015, LOAC/LPC2E in 2016, LASP OPC 2022) to be launched on weather balloons
2014 HQ funded our LaRC group (D. Fairlie, M. Natarajan, T. Knepp and myself) and T. Deshler’s group to deploy after the Kelud volcanic eruption in Australia

## Slide 5: 12 years of balloon campaigns with NASA LaRC From KLASH to BalNeO
Vernier J.P. et al. 2026, BAMS, under review
KLASH
BATAL
VODDKA
VolKilau
DCOTSS
REAS/MAGIC
BraVo

## Slide 6
Profiling Optical Particle Counter
T, P, RH, u, & v
GPS location
iMet-4 Radiosonde
Compact Optical Backscatter
AerosoL Detector (COBALD)
A two-wavelength backscatter sonde
Backscatter ratio (BSR) at 455 nm (blue)
& 940 nm (IR) wavelengths.
Color Ratio = BSR940/BSR455
Laser diode based optical particle counter
Particle counts at 30 size channels /2s
Size range: 0.3 -10 µm (diameter)
Flow: 2.83 LPM (0.1 CFM)
Filter Sampler
Eight filters or TEM grids with software actuated sampling.
Samples collected on filters used for ion-chromatography
Lightweight Payloads used within the framework of BalNeO
To study aerosol properties

## Slide 7: BalNeO Partners
Bauru, Brazil
Hyderabad, India
Reims, France
Minneapolis, USA
Saskatoon, Canada
- 4 active MoUs with different institutes/Universities across the world
Leasing of equipment to facilitate balloon activities
Encourage student teams to be involved

## Slide 8: POPC adaptation for Balloon measurement
2. Thermal Insulation
External
Internal
9˚C<IN<30 ˚C
-60 ˚C <OUT< 30 ˚C
3. Data Transmission
1. Miniaturization (800 g)
4. Ground-check
Vernier J.P. et al., 2026 AMTD

## Slide 9: Validation
Reims
POPC vs POPS

## Slide 10
a)
b)
c)
d)
e)
f)
g)
h)
Brazil 08/12/22
Brazil 08/13/23
France 09/15/23
France 09/28/23
Collocated flights between POPC and SAGE III/ISS
Extinction coefficient derived from POPC agree within +/-50% with SAGE III/ISS at 521 nm
Hunga plume
Tropical background
NH background
NH background

## Slide 11: Trajectory modelling support to plan the balloon flights
Langley Trajectory Model
Red Earth East Fire Complex, 5/30/2025
Transport over France, 6/3/2025
POPC balloon flight Reims, France
PyroCb plume
Mode of large particles
Das et al., 2026 ACPD

## Slide 12: Sampling stratospheric aerosols with lightweight instrument
Vernier H. et al., 2026 ACPD
a)
Ascent
Float
Descent
P1
Opened Valve
Closed Valve
P2
P3
P4
P5
P6
P7
P8
“Wheel” Sampler
8 flights with the Chem. Sampler in Brazil, France and India
Results of one flight within Hunga plume show significant amount of NaCl.
Unusual results as more Sulfate was expected (Still under investigation..)
NaCl
H2SO4
Hunga Plume

## Slide 13: Conclusions/Perspectives
BalNeO emerged after 10 years of balloon deployments to study the Asian Monsoon, Volcanic and PyroCb plumes
5 active sites across the world with current support from NASA UACO program
Adaptation of new payloads for balloon-borne measurements
Synergy between BalNeO and SAGE III/ISS to address science questions: e.g. Cloud-aerosol interaction/discrimination (A. Pandit, R. Das)
 Sedimentation of the Hunga volcanic plume: G. Souza/Hunga
https://www.nasa.gov/langley/science/balneo/

## Slide 15: Extra slides

## Slide 16
Validation POPC vs COBALD

## Slide 17: BalNeO activities during the pyroCb season
INSPYRE
Trajectory PDF
Reims, France
Sakatoon, Canada
Minneapolis, USA
BalNeO
BalNeO
Variability of pyroCb occurrence (Peterson et al., 2025)
Planned balloon activities will start in early May to study pyroCbs from Canada (spring)
Balloon activities will take place during INSPYRE
PyroCb smoke transport study using Langley Trajectory Model (See Das et al. Poster)
2 locations to study Fresh pyroCb plumes
Long-range transport will be studied over Europe
Das et al. 2026, ACPD

## Slide 18
Launch: 19:36:12
733.54 km
SAGE III :17:18:28
Launch:03:15:06
SAGE III: 18:10:04
688.05 km
2023092836SS
2023092839SS
2023091524SS
2023091527SS*
Launch 00:03:05
Ask Giovanni
2022081221SR
SAGE III: 09:34:33
Launch= 06:22:25
2023081340SS*
SAGE III: 20:38:47
468.96 km